## Errosion Control
Job Hazard Analysis (JHA)
Activity/Task: EROSION CONTROL |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC) |  |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  |  |  | Probability (Likelihood) | Overall Risk Rating |  | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  |  |  | 4-Very Likely |  |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  |  |  | 3-Likely |  |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  |  |  | 2-Possible |  |  | 4-6- Medium
EHS Manager: |  | Minor (10) |  | x |  |  |  | 1-Unlikely |  |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [8 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [10 empty] | Severity Probability Risk
1. Mobilize to Site | 1.1 Struck by Equipment |  | 1.1.1 Follow all posted speed limits and guidelines on and off campus | [10 empty] | 2 x 1 = 2
|  |  | 1.1.2 Use spotters when loading and unloading equipment, to ensure people are not in the loading and unloading zone. | [10 empty] | 2 x 1 = 2
|  |  | 1.1.3 All personnel to class 2 wear high visibility vest/shirt and safety toed work boots, minimum 6" tall. | [10 empty] | 2 x 1 = 2
|  |  | 1.1.4 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [10 empty] | 2 x 1 = 2
| 1.2 Fuel Spills |  | 1.2.1 Spill kit readily available on truck and onsite | [10 empty] | 2 x 1 = 2
| 1.3 Low Visibility |  | 1.3.1 Ensure headlights are in working order | [10 empty] | 2 x 1 = 2
|  |  | 1.3.2 All personnel to class 2 wear high visibility vest/shirt. | [10 empty] | 2 x 1 = 2
|  |  | 1.3.3 Ensure windshield/mirrors along with wipers are in proper working order and clean | [10 empty] | 2 x 1 = 2
| 1.4 Loading & Unloading Machinery |  | 1.4.1 Ensure load is secured to vehicle | [10 empty] | 2 x 1 = 2
|  |  | 1.4.2 Vehicle to be parked on flat and level ground prior to loading and unloading | [10 empty] | 2 x 1 = 2
|  |  | 1.4.3 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [10 empty] | 2 x 1 = 2
2. Install of Inlet Protection & Erosion Control | 2.1 Hands Pinched |  | 2.1.1 Be aware of hand placement | 2.1.1 Be aware of hand placement | 2.1.1 Be aware of hand placement | 2.1.1 Be aware of hand placement | 2.1.1 Be aware of hand placement | 2.1.1 Be aware of hand placement | 2.1.1 Be aware of hand placement | 2.1.1 Be aware of hand placement | 2.1.1 Be aware of hand placement | 2.1.1 Be aware of hand placement | 2.1.1 Be aware of hand placement | 2 x 1 = 2
|  |  | 2.1.2 Wear proper gloves | 2.1.2 Wear proper gloves | 2.1.2 Wear proper gloves | 2.1.2 Wear proper gloves | 2.1.2 Wear proper gloves | 2.1.2 Wear proper gloves | 2.1.2 Wear proper gloves | 2.1.2 Wear proper gloves | 2.1.2 Wear proper gloves | 2.1.2 Wear proper gloves | 2.1.2 Wear proper gloves | 2 x 1 = 2
|  |  | 2.1.3 Communication with other workers about hand placement | 2.1.3 Communication with other workers about hand placement | 2.1.3 Communication with other workers about hand placement | 2.1.3 Communication with other workers about hand placement | 2.1.3 Communication with other workers about hand placement | 2.1.3 Communication with other workers about hand placement | 2.1.3 Communication with other workers about hand placement | 2.1.3 Communication with other workers about hand placement | 2.1.3 Communication with other workers about hand placement | 2.1.3 Communication with other workers about hand placement | 2.1.3 Communication with other workers about hand placement | 2 x 1 = 2
| 2.2 Mud run off | 2.2 Mud run off | 2.2.1 Walk site to address and mitigate any potential environmental impacts, use straw waddles, water pumps, or inlet protection as needed. | 2.2.1 Walk site to address and mitigate any potential environmental impacts, use straw waddles, water pumps, or inlet protection as needed. | 2.2.1 Walk site to address and mitigate any potential environmental impacts, use straw waddles, water pumps, or inlet protection as needed. | 2.2.1 Walk site to address and mitigate any potential environmental impacts, use straw waddles, water pumps, or inlet protection as needed. | 2.2.1 Walk site to address and mitigate any potential environmental impacts, use straw waddles, water pumps, or inlet protection as needed. | 2.2.1 Walk site to address and mitigate any potential environmental impacts, use straw waddles, water pumps, or inlet protection as needed. | 2.2.1 Walk site to address and mitigate any potential environmental impacts, use straw waddles, water pumps, or inlet protection as needed. | 2.2.1 Walk site to address and mitigate any potential environmental impacts, use straw waddles, water pumps, or inlet protection as needed. | 2.2.1 Walk site to address and mitigate any potential environmental impacts, use straw waddles, water pumps, or inlet protection as needed. | 2.2.1 Walk site to address and mitigate any potential environmental impacts, use straw waddles, water pumps, or inlet protection as needed. | 2.2.1 Walk site to address and mitigate any potential environmental impacts, use straw waddles, water pumps, or inlet protection as needed. | 2 x 1 = 2
| 2.3 Slips, trips, falls, strains & sprains due to uneven ground, large rock, muddy surfaces, poor housekeeping |  | 2.3.1 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2 x 1 = 2
|  |  | 2.3.2 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2 x 1 = 2
|  |  | 2.3.3 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2 x 1 = 2
|  |  | 2.3.4 Keep work area clear and maintained | [10 empty] | 2 x 1 = 2
|  |  | 2.3.5 Maintain secure footing | 2.4.1 Maintain secure footing | 2.4.1 Maintain secure footing | 2.4.1 Maintain secure footing | 2.4.1 Maintain secure footing | 2.4.1 Maintain secure footing | 2.4.1 Maintain secure footing | 2.4.1 Maintain secure footing | 2.4.1 Maintain secure footing | 2.4.1 Maintain secure footing | 2.4.1 Maintain secure footing | 2 x 1 = 2
|  |  | 2.3.6 Pick a clear and dedicated travel path to a from work areas | 2.4.2 Pick a clear and dedicated travel path to a from work areas | 2.4.2 Pick a clear and dedicated travel path to a from work areas | 2.4.2 Pick a clear and dedicated travel path to a from work areas | 2.4.2 Pick a clear and dedicated travel path to a from work areas | 2.4.2 Pick a clear and dedicated travel path to a from work areas | 2.4.2 Pick a clear and dedicated travel path to a from work areas | 2.4.2 Pick a clear and dedicated travel path to a from work areas | 2.4.2 Pick a clear and dedicated travel path to a from work areas | 2.4.2 Pick a clear and dedicated travel path to a from work areas | 2.4.2 Pick a clear and dedicated travel path to a from work areas | 2 x 1 = 2
| 2.4 Material Handling |  | 2.4.1 Use proper lifting technique | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2.4.3 Housekeeping | 2 x 1 = 2
|  |  | 2.4.2 Use buddy system or mechanical means for anything over 40 pounds. | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2 x 1 = 2
|  |  | 2.4.3 Preplan route and material placement prior to starting, to ensure a clear path. | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2.4.5 Clean up as you go | 2 x 1 = 2
3. Perform Equipment Inspections | 3.1 Awkward Posture/Positioning When Inspecting |  | 3.1.1 Stretch and Flex prior to starting work. | [10 empty] | 2 x 1 = 2
|  |  | 3.1.2 Perform inspections at surface level, when possible. | [10 empty] | 2 x 1 = 2
| 3.2 Pinch Points |  | 3.2.1 Proper positioning of equipment. | [10 empty] | 2 x 1 = 2
|  |  | 3.2.3 Beware of hand/body placement. | [10 empty] | 2 x 1 = 2
| 3.3 Unauthorized Starting of Equipment |  | 3.3 Verify keys are not in the ignition. | [10 empty] | 2 x 1 = 2
4. Mechanical Erosion Control Install | 4.1 Moving Rotating Equipment |  | 4.1.1 Equipment equipped with warning devices such as back-up alarms or ATB devices. | [10 empty] | 4 x 1 = 4
| 4.2 Struck By/Caught Between Equipment |  | 4.2.1 Only authorized operators to use equipment. | [10 empty] | 4 x 1 = 4
|  |  | 4.2.2 Spotter | [10 empty] | 4 x 1 = 4
| 4.3 Damage to Equipment/Existing Structures |  | 4.3.1 Spotter | [10 empty] | 4 x 1 = 4
5. Fueling Equipment | 5.1 Chemical Exposure, Spills & Unidentified Ignition Source |  | 5.1.1 Review SDS (Coffman's SDSs can be found on the QR code) and understand hazards of the chemicals being used. | [10 empty] | 2 x 1 = 2
|  |  | 5.1.2 Use proper gloves for fueling. | [10 empty] | 2 x 1 = 2
|  |  | 5.1.3 Keep potential ignition source a minimum of 25' from fueling area. | [10 empty] | 2 x 1 = 2
|  |  | 5.1.4 Fire extinguisher readily available in fueling area. | [10 empty] | 2 x 1 = 2
|  |  | 5.1.5 Spill kit on site and/or on fuel truck. | [10 empty] | 2 x 1 = 2
| 5.2 Struck-By/Caught Between Equipment |  | 5.2.1 Only authorized operators to operate equipment. | [10 empty] | 2 x 1 = 2
|  |  | 5.2.2 Use spotters when needed. | [10 empty] | 2 x 1 = 2
| 5.3 Slippery Equipment/Ground Conditions Due To Wet/Freezing Weather, Mud, Lose Rock. |  | 5.3.1 Utilize 3 points of contact when climbing on and off equipment. | [10 empty] | 2 x 1 = 2
|  |  | 5.3.2 Evaluate work area prior to starting work. | [10 empty] | 2 x 1 = 2
Verification of Review
Name (Print) |  | Signature | [5 empty] | Date
Project Manager:
EHS:
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member:

## Excavation-Trenching
Job Hazard Analysis (JHA)
Activity/Task: EXCAVATION/TRENCHING |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  | Probability (Likelihood) | Overall Risk Rating | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  | 4-Very Likely |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  | 3-Likely |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  | 2-Possible |  | 4-6- Medium
EHS Manager: |  | Minor (1) |  | x |  | 1-Unlikely |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [6 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [6 empty] | Severity Probability Risk
1. Mobilize Equipment To & From Site | 1.1 Struck by Equipment |  | 1.1.1 Follow all posted speed limits and guidelines on and off campus | [6 empty] | 2 x 1 = 2
|  |  | 1.1.2 Use spotters when loading and unloading equipment, to ensure people are not in the loading and unloading zone. | [6 empty] | 2 x 1 = 2
|  |  | 1.1.3 All personnel to class 2 wear high visibility vest/shirt and safety toed work boots, minimum 6" tall. | [6 empty] | 2 x 1 = 2
|  |  | 1.1.4 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [6 empty] | 2 x 1 = 2
| 1.2 Fuel Spills |  | 1.2.1 Spill kit readily available on truck and onsite | [6 empty] | 2 x 1 = 2
| 1.3 Low Visibility |  | 1.3.1 Ensure headlights are in working order | [6 empty] | 2 x 1 = 2
|  |  | 1.3.2 All personnel to class 2 wear high visibility vest/shirt. | [6 empty] | 2 x 1 = 2
|  |  | 1.3.3 Ensure windshield/mirrors along with wipers are in proper working order and clean | [6 empty] | 2 x 1 = 2
| 1.4 Loading & Unloading Machinery |  | 1.4.1 Ensure load is secured to vehicle | [6 empty] | 2 x 1 = 2
|  |  | 1.4.2 Vehicle to be parked on flat and level ground prior to loading and unloading | [6 empty] | 2 x 1 = 2
|  |  | 1.4.3 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [6 empty] | 2 x 1 = 2
2. Perform Equipment Inspections | 2.1 Awkward Posture/Positioning When Inspecting |  | 2.1.1 Stretch and Flex prior to starting work. | [6 empty] | 2 x 1 = 2
|  |  | 2.12 Perform inspections at surface level, when possible. | [6 empty] | 2 x 1 = 2
| 2.2 Pinch Points |  | 2.2.1 Proper positioning of equipment. | [6 empty] | 2 x 1 = 2
|  |  | 2.2.2 Beware of hand/body placement. | [6 empty] | 2 x 1 = 2
| 2.3 Unauthorized Starting of Equipment |  | 2.3.1 Verify keys are not in the ignition. | [6 empty] | 2 x 1 = 2
3. Site Excavation | 3.1 Moving Rotating Equipment |  | 3.1.1 Equipment equipped with warning devices such as back-up alarms or ATB devices. | [6 empty] | 4 x 1 = 4
| 3.2 Struck By/Caught Between Equipment |  | 3.2.1 Only authorized operators to use equipment. | [6 empty] | 4 x 1 = 4
|  |  | 3.2.2 Spotter | [6 empty] | 4 x 1 = 4
| 3.3 Damage to Equipment/Existing Structures |  | 3.3.1 Spotter | [6 empty] | 4 x 1 = 4
|  |  | 3.3.2 Maintain clearance from overhead wires/obstructions. | [6 empty] | 4 x 1 = 4
3.3.3 Use barricades when needed to protect existing structures and equipment
|  |  | 3.3.4 Utilize Utility Awareness form for existing utilities above and below ground | [6 empty] | 4 x 1 = 4
| 3.4 Tipping of Equipment |  | 3.4.1 Equipment will be matched to the intended loads for weight, size and activity. | [6 empty] | 4 x 1 = 4
|  |  | 3.4.2 Employees, other trades and pedestrians will keep clear of loading/hoisting operations. | [6 empty] | 4 x 1 = 4
|  |  | 3.4.3 PPE- Class 2 High-viz clothing. | [6 empty] | 4 x 1 = 4
|  |  | 3.4.4 Spotter to keep either verbal, visual (eye contact) or hand signal contact with operator. | [6 empty] | 4 x 1 = 4
|  |  | 3.4.5 Equipment to maintain safe distance from edge of trench/excavation. | [6 empty] | 4 x 1 = 4
| 3.5 Cave-ins |  | 3.5.1 Competent person to inspect excavation/trench daily or when site conditions or weather changes throughout the day. | [6 empty] | 4 x 1 = 4
|  |  | 3.5.2 Used engineered shoring, shielding system, sloping or benching when excavation/trench is over 5' or as needed at lesser depth. | [6 empty] | 4 x 1 = 4
3.5.3 Keep Spoils 2 feet back from edge of trench.
| 3.6 Ground Erosion |  | 3.6.1 Cover dirt slopes and install erosion control measures as needed. | [6 empty] | 4 x 1 = 4
| 3.7 Fall hazards >6' |  | 3.7.1 Secure area with red rope/hard barricade. | [6 empty] | 4 x 1 = 4
3.7.2 Utilize fall protection equipment when required.
| 3.8 Striking Existing Utilities |  | 3.8.1 Call for locates private/public prior to the start of work. | [6 empty] | 4 x 1 = 4
|  |  | 3.8.2 Refer to plan set/asbuilts prior to start of work. | [6 empty] | 4 x 1 = 4
|  |  | 3.8.3 Check with other trades about where their utilities are located prior to starting work. | [6 empty] | 4 x 1 = 4
|  |  | 3.8.4 Check with GC about changes that may have been made to plans/asbulits prior to starting work. | [6 empty] | 4 x 1 = 4
|  |  | 3.8.5 Pothole prior to the start of work when able. | [6 empty] | 4 x 1 = 4
|  |  | 3.8.6 Do not mechanically dig when within 3 feet of known utilities. Hand dig with shovel or use vac-ex. | [6 empty] | 4 x 1 = 4
|  |  | 3.8.7 Complete Coffman's Utility Awareness form and review with crew prior to the start of work. This will include above and below ground utilities. | [6 empty] | 4 x 1 = 4
4. Haul off debris/soil dump truck | 4.1 Struck By/Caught Between Equipment & Truck |  | 4.1.1 PPE- Class 2 High-viz clothing. | [6 empty] | 4 x 1 = 4
|  |  | 4.1.2 Spotter to stay out of swing radius of excavator. | [6 empty] | 4 x 1 = 4
|  |  | 4.1.3 Spotter to keep either verbal, visual (eye contact) or hand signal contact with operator. | [6 empty] | 4 x 1 = 4
| 4.2 Equipment/Truck Collision |  | 4.2.1 Equipment/Trucks to be directed by spotters when needed for trucks to enter/exit safely. | [6 empty] | 4 x 1 = 4
|  |  | 4.2.2 Seat belts to be worn in equipment/trucks when equipment/trucks is equipped with such. | [6 empty] | 4 x 1 = 4
| 4.3 Falling Material |  | 4.3.1 Trucks will be loaded below top of side rails with no material on side rails. | [6 empty] | 4 x 1 = 4
|  |  | 4.3.2 Spotter to remove debris from side rails, prior to truck leaving site. | [6 empty] | 4 x 1 = 4
|  |  | 4.3.3 Spotter to check duals of trucks for rocks. | [6 empty] | 4 x 1 = 4
| 4.4 Equipment/Property Damage |  | 4.4.1 Only authorized operators to use equipment. | [6 empty] | 4 x 1 = 4
|  |  | 4.4.2 Spotters to be used in areas where equipment may be a danger to others/property. | [6 empty] | 4 x 1 = 4
| 4.5 Dust |  | 4.5.1 Maintain dust utilizing water truck or other on-site water source. | [6 empty] | 4 x 1 = 4
5. Fueling Equipment | 5.1 Chemical Exposure, Spills & Unidentified Ignition Source |  | 5.1.1 Review SDS (Coffman's SDSs can be found on the QR code) and understand hazards of the chemicals being used. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.2 Use proper gloves for fueling. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.3 Keep potential ignition source a minimum of 25' from fueling area. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.4 Fire extinguisher readily available in fueling area. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.5 Spill kit on site and/or on fuel truck. | [6 empty] | 2 x 1 = 2
| 5.2 Struck-By/Caught Between Equipment |  | 5.2.1 Only authorized operators to operate equipment. | [6 empty] | 2 x 1 = 2
|  |  | 5.2.2 Use spotters when needed. | [6 empty] | 2 x 1 = 2
| 5.3 Slippery Equipment/Ground Conditions Due To Wet/Freezing Weather, Mud, Lose Rock. |  | 5.3.1 Utilize 3 points of contact when climbing on and off equipment. | [6 empty] | 2 x 1 = 2
|  |  | 5.3.2 Evaluate work area prior to starting work. | [6 empty] | 2 x 1 = 2
Verification of Review
Name (Print) |  | Signature |  |  |  | Date
Superintendent:
Project Manager:
EHS: Amy McClean
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member:

## Footing Excavation
Job Hazard Analysis (JHA)
Activity/Task: FOOTING EXCAVATION |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC) |  |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  |  |  | Probability (Likelihood) | Overall Risk Rating |  | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  |  |  | 4-Very Likely |  |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  |  |  | 3-Likely |  |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  |  |  | 2-Possible |  |  | 4-6- Medium
EHS Manager: |  | Minor (1) |  | x |  |  |  | 1-Unlikely |  |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [8 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [10 empty] | Severity Probability Risk
1. Mobilize Equipment To & From Site | 1.1 Struck by Equipment |  | 1.1.1 Follow all posted speed limits and guidelines on and off campus | [10 empty] | 2 x 1 = 2
|  |  | 1.1.2 Use spotters when loading and unloading equipment, to ensure people are not in the loading and unloading zone. | [10 empty] | 2 x 1 = 2
|  |  | 1.1.3 All personnel to class 2 wear high visibility vest/shirt and safety toed work boots, minimum 6" tall. | [10 empty] | 2 x 1 = 2
|  |  | 1.1.4 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [10 empty] | 2 x 1 = 2
| 1.2 Fuel Spills |  | 1.2.1 Spill kit readily available on truck and onsite | [10 empty] | 2 x 1 = 2
| 1.3 Low Visibility |  | 1.3.1 Ensure headlights are in working order | [10 empty] | 2 x 1 = 2
|  |  | 1.3.2 All personnel to class 2 wear high visibility vest/shirt. | [10 empty] | 2 x 1 = 2
|  |  | 1.3.3 Ensure windshield/mirrors along with wipers are in proper working order and clean | [10 empty] | 2 x 1 = 2
| 1.4 Loading & Unloading Machinery |  | 1.4.1 Ensure load is secured to vehicle | [10 empty] | 2 x 1 = 2
|  |  | 1.4.2 Vehicle to be parked on flat and level ground prior to loading and unloading | [10 empty] | 2 x 1 = 2
|  |  | 1.4.3 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [10 empty] | 2 x 1 = 2
2. Perform Equipment Inspections | 2.1 Awkward Posture/Positioning When Inspecting |  | 2.1.1 Stretch and Flex prior to starting work. | [10 empty] | 2 x 1 = 2
|  |  | 2.12 Perform inspections at surface level, when possible. | [10 empty] | 2 x 1 = 2
| 2.2 Pinch Points |  | 2.2 Proper positioning of equipment. | [10 empty] | 2 x 1 = 2
|  |  | 2.2.3 Beware of hand/body placement. | [10 empty] | 2 x 1 = 2
| 2.3 Unauthorized Starting of Equipment |  | 2.3.1 Verify keys are not in the ignition. | [10 empty] | 2 x 1 = 2
3. Excavating For Footings | 3.1 Moving Rotating Equipment |  | 3.1.1 Equipment equipped with warning devices such as back-up alarms or ATB devices. | [10 empty] | 4 x 1 = 4
| 3.2 Struck By/Caught Between Equipment |  | 3.2.1 Only authorized operators to use equipment. | [10 empty] | 4 x 1 = 4
|  |  | 3.2.2 Spotter | [10 empty] | 4 x 1 = 4
| 3.3 Damage to Equipment/Existing Structures |  | 3.3.1 Spotter | [10 empty] | 4 x 1 = 4
|  |  | 3.3.2 Maintain clearance from overhead wires/obstructions. | [10 empty] | 4 x 1 = 4
| 3.4 Tipping of Equipment |  | 3.4.1 Equipment will be matched to the intended loads for weight, size and activity. | [10 empty] | 4 x 1 = 4
|  |  | 3.4.2 Employees, other trades and pedestrians will keep clear of loading/hoisting operations. | [10 empty] | 4 x 1 = 4
|  |  | 3.4.3 PPE- Class 2 High-viz clothing. | [10 empty] | 4 x 1 = 4
|  |  | 3.4.4 Spotter to keep either verbal, visual (eye contact) or hand signal contact with operator. | [10 empty] | 4 x 1 = 4
|  |  | 3.4.5 Equipment to maintain safe distance from edge of trench/excavation. | [10 empty] | 4 x 1 = 4
| 3.5 Cave-ins |  | 3.5.1 Competent person to inspect excavation/trench daily or when site conditions or weather changes throughout the day. | [10 empty] | 4 x 1 = 4
|  |  | 3.5.2 Used engineered shoring, shielding system, sloping or benching when excavation/trench is over 5' or as needed at lesser depth. | [10 empty] | 4 x 1 = 4
3.5.3 Keep Spoils 2 feet back from edge of trench.
| 3.6 Ground Erosion |  | 3.6.1 Cover dirt slopes and install erosion control measures as needed. | [10 empty] | 4 x 1 = 4
| 3.7 Fall hazards >6' |  | 3.7.1 Secure area with red rope/hard barricade. | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 4 x 1 = 4
3.7.2 Utilize fall protection equipment when required/
| 3.8 Striking Existing Utilities |  | 3.8.1 Call for locates private/public prior to the start of work. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.2 Refer to plan set/asbuilts prior to start of work. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.3 Check with other trades about where their utilities are located prior to starting work. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.4 Check with GC about changes that may have been made to plans/asbulits prior to starting work. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.5 Pothole prior to the start of work when able. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.6 Do not mechanically dig when within 3 feet of known utilities. Hand dig with shovel or use vac-ex. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.7 Complete Coffman's Utility Awareness form and review with crew prior to the start of work. This will include above and below ground utilities. | [10 empty] | 4 x 1 = 4
4. Haul off debris/soil dump truck | 4.1 Struck By/Caught Between Equipment & Truck |  | 4.1.1 PPE- Class 2 High-viz clothing. | [10 empty] | 4 x 1 = 4
|  |  | 4.1.2 Spotter to stay our of swing radius of excavator. | [10 empty] | 4 x 1 = 4
|  |  | 4.1.3 Spotter to keep either verbal, visual (eye contact) or hand signal contact with operator. | [10 empty] | 4 x 1 = 4
| 4.2 Equipment/Truck Collision |  | 4.2.1 Equipment/Trucks to be directed by spotters when needed for trucks to enter/exit safely. | [10 empty] | 4 x 1 = 4
|  |  | 4.2.2 Seat belts to be worn in equipment/trucks when equipment/trucks is equipped with such. | [10 empty] | 4 x 1 = 4
| 4.3 Falling Material |  | 4.3.1 Trucks will be loaded below top of side rails with no material on side rails. | [10 empty] | 4 x 1 = 4
|  |  | 4.3.2 Spotter to remove debris from side rails, prior to truck leaving site. | [10 empty] | 4 x 1 = 4
|  |  | 4.3.3 Spotter to check duals of trucks for rocks. | [10 empty] | 4 x 1 = 4
| 4.4 Equipment/Property Damage |  | 4.4.1 Only authorized operators to use equipment. | [10 empty] | 4 x 1 = 4
|  |  | 4.4.2 Spotters to be used in areas where equipment may be a danger to others/property. | [10 empty] | 4 x 1 = 4
| 4.5 Dust |  | 4.5.1 Maintain dust utilizing water truck or other on-site water source. | [10 empty] | 4 x 1 = 4
5. Fueling Equipment | 5.1 Chemical Exposure, Spills & Unidentified Ignition Source |  | 5.1.1 Review SDS (Coffman's SDSs can be found on the QR code) and understand hazards of the chemicals being used. | [10 empty] | 2 x 1 = 2
|  |  | 5.1.2 Use proper gloves for fueling. | [10 empty] | 2 x 1 = 2
|  |  | 5.1.3 Keep potential ignition source a minimum of 25' from fueling area. | [10 empty] | 2 x 1 = 2
|  |  | 5.1.4 Fire extinguisher readily available in fueling area. | [10 empty] | 2 x 1 = 2
|  |  | 5.1.5 Spill kit on site and/or on fuel truck. | [10 empty] | 2 x 1 = 2
| 5.2 Struck-By/Caught Between Equipment |  | 5.2.1 Only authorized operators to operate equipment. | [10 empty] | 2 x 1 = 2
|  |  | 5.2.2 Use spotters when needed. | [10 empty] | 2 x 1 = 2
| 5.3 Slippery Equipment/Ground Conditions Due To Wet/Freezing Weather, Mud, Lose Rock. |  | 5.3.1 Utilize 3 points of contact when climbing on and off equipment. | [10 empty] | 2 x 1 = 2
|  |  | 5.3.2 Evaluate work area prior to starting work. | [10 empty] | 2 x 1 = 2
Verification of Review
Name (Print) |  | Signature | [5 empty] | Date
Superintendent:
Project Manager:
EHS:
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member:

## Utility Install
Job Hazard Analysis (JHA)
Activity/Task: UTILITY INSTALLATION |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC) |  |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  |  |  | Probability (Likelihood) | Overall Risk Rating |  | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  |  |  | 4-Very Likely |  |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  |  |  | 3-Likely |  |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  |  |  | 2-Possible |  |  | 4-6- Medium
EHS Manager: |  | Minor (1) |  | x |  |  |  | 1-Unlikely |  |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [8 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [10 empty] | Severity Probability Risk
1. Mobilize Equipment To & From Site | 1.1 Struck by Equipment |  | 1.1.1 Follow all posted speed limits and guidelines on and off campus | [10 empty] | 1 x 2 = 2
|  |  | 1.1.2 Use spotters when loading and unloading equipment, to ensure people are not in the loading and unloading zone. | [10 empty] | 1 x 2 = 2
|  |  | 1.1.3 All personnel to class 2 wear high visibility vest/shirt and safety toed work boots, minimum 6" tall. | [10 empty] | 1 x 2 = 2
|  |  | 1.1.4 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [10 empty] | 1 x 2 = 2
| 1.2 Fuel Spills |  | 1.2.1 Spill kit readily available on truck and onsite | [10 empty] | 1 x 2 = 2
| 1.3 Low Visibility |  | 1.3.1 Ensure headlights are in working order | [10 empty] | 1 x 2 = 2
|  |  | 1.3.2 All personnel to class 2 wear high visibility vest/shirt. | [10 empty] | 1 x 2 = 2
|  |  | 1.3.3 Ensure windshield/mirrors along with wipers are in proper working order and clean | [10 empty] | 1 x 2 = 2
| 1.4 Loading & Unloading Machinery |  | 1.4.1 Ensure load is secured to vehicle | [10 empty] | 1 x 2 = 2
|  |  | 1.4.2 Vehicle to be parked on flat and level ground prior to loading and unloading | [10 empty] | 1 x 2 = 2
|  |  | 1.4.3 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [10 empty] | 1 x 2 = 2
2. Perform Equipment Inspections | 2.1 Awkward Posture/Positioning When Inspecting |  | 2.1.1 Stretch and Flex prior to starting work. | [10 empty] | 1 x 2 = 2
|  |  | 2.1.2 Perform inspections at surface level, when possible. | [10 empty] | 1 x 2 = 2
| 2.2 Pinch Points |  | 2.2.1 Proper positioning of equipment. | [10 empty] | 1 x 2 = 2
|  |  | 2.2.2 Beware of hand/body placement. | [10 empty] | 1 x 2 = 2
| 2.3 Unauthorized Starting of Equipment |  | 2.3.1 Verify keys are not in the ignition. | [10 empty] | 1 x 2 = 2
3. Install and Backfill Utilities | 3.1 Pedestrians/Other Trades in area |  | 3.1.1 Danger tape/hard barricade work area. Only authorized personnel in area. | [10 empty] | 2 x 2 = 4
|  |  | 3.1.2 Use spotters when needed to direct pedestrians and other trades away from work area. | [10 empty] | 2 x 2 = 4
| 3.2 Struck By/Caught Between Equipment |  | 3.2.1 Only authorized operators to operate equipment. | [10 empty] | 2 x 2 = 4
|  |  | 3.2.2 Use Spotter to help operator know his whereabouts | [10 empty] | 2 x 2 = 4
| 3.3 Damage to Equipment/Existing Structures |  | 3.3.1 Use Spotter to help operator know his whereabouts | [10 empty] | 2 x 2 = 4
|  |  | 3.3.2 Maintain clearance from overhead wires/obstructions. | [10 empty] | 2 x 2 = 4
|  |  | 3.3.3 Maintain distance from existing structures and equipment. | [10 empty] | 2 x 2 = 4
| 3.4 Tipping of Equipment |  | 3.4.1 Equipment will be matched to the intended loads for weight, size and activity. | [10 empty] | 2 x 2 = 4
|  |  | 3.4.2 Employees, other trades and pedestrians will keep clear of loading/hoisting operations. | [10 empty] | 2 x 2 = 4
|  |  | 3.4.3 PPE- Class 2 High-viz clothing. | [10 empty] | 2 x 2 = 4
|  |  | 3.4.4 Spotter to keep either verbal, visual (eye contact) or hand signal contact with operator. | [10 empty] | 2 x 2 = 4
|  |  | 3.4.5 Equipment to maintain safe distance from edge of trench/excavation. | [10 empty] | 2 x 2 = 4
| 3.5 Cave-ins |  | 3.5.1 Competent person to inspect excavation/trench daily or when site conditions or weather changes throughout the day. | [10 empty] | 2 x 2 = 4
|  |  | 3.5.2 Used engineered shoring, shielding system, sloping or benching when excavation/trench is over 5' or as needed at lesser depth. | [10 empty] | 2 x 2 = 4
|  |  | 3.5.3 Keep Spoils 2 feet back from edge of trench. | [10 empty] | 2 x 2 = 4
| 3.6 Ground Erosion |  | 3.6.1 Cover dirt slopes and install erosion control measures as needed. | [10 empty] | 2 x 2 = 4
|  |  | 3.6.2 Dewater trench/excavation if needed. Never enter a trench or excavation full of water. | [10 empty] | 2 x 2 = 4
| 3.7 Fall hazards >6' |  | 3.7.1 Secure area with red rope/hard barricade. | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2 x 2 = 4
|  |  | 3.7.2 Utilize fall protection equipment when required. | [10 empty] | 2 x 2 = 4
| 3.8 Rigging Failure |  | 3.8.1 Inspect rigging prior to use. | [10 empty] | 2 x 2 = 4
|  |  | 3.8.2 Use tag-lines when able to. | [10 empty] | 2 x 2 = 4
|  |  | 3.8.3 No personnel under suspended loads. | [10 empty] | 2 x 2 = 4
| 3.9 Fingers Pinched While Installing Pipe |  | 3.9.1 Use a pipe/tool to chink pipe in. | [10 empty] | 1 x 2 = 2
|  |  | 3.9.2 Use a board to keep pipe from moving while chinking. | [10 empty] | 1 x 2 = 2
| 3.10 Working in trench |  | 3.10.1 Always work in pairs, never enter trench without a top hand present. | [10 empty] | 1 x 2 = 2
| 3.11 Atmospheric Hazards |  | 3.11.1 Evaluate trench/excavation for atmospheric hazards. | [10 empty] | 1 x 2 = 2
|  |  | 3.11.2 Test with sniffer before entering and if you still are not sure where sniffer while in trench/excavation. | [10 empty] | 1 x 2 = 2
3.12.3 Put emergency retrieval procedures in place if needed.
4. Haul off debris/soil dump truck | 4.1 Struck By/Caught Between Equipment & Truck |  | 4.1.1 PPE- Class 2 High-viz clothing. | [10 empty] | 2 x 2 = 4
|  |  | 4.1.2 Spotter to stay our of swing radius of excavator. | [10 empty] | 2 x 2 = 4
|  |  | 4.1.3 Spotter to keep either verbal, visual (eye contact) or hand signal contact with operator. | [10 empty] | 2 x 2 = 4
| 4.2 Equipment/Truck Collision |  | 4.2.1 Equipment/Trucks to be directed by spotters when needed for trucks to enter/exit safely. | [10 empty] | 2 x 2 = 4
|  |  | 4.2.2 Seat belts to be worn in equipment/trucks when equipment/trucks is equipped with such. | [10 empty] | 2 x 2 = 4
| 4.3 Falling Material |  | 4.3.1 Trucks will be loaded below top of side rails with no material on side rails. | [10 empty] | 2 x 2 = 4
|  |  | 4.3.2 Spotter to remove debris from side rails, prior to truck leaving site. | [10 empty] | 2 x 2 = 4
|  |  | 4.3.3 Spotter to check duals of trucks for rocks. | [10 empty] | 2 x 2 = 4
| 4.4 Equipment/Property Damage |  | 4.4.1 Only authorized operators to use equipment. | [10 empty] | 2 x 2 = 4
|  |  | 4.4.2 Spotters to be used in areas where equipment may be a danger to others/property. | [10 empty] | 2 x 2 = 4
| 4.5 Dust |  | 4.5.1 Maintain dust utilizing water truck or other on-site water source. | [10 empty] | 2 x 2 = 4
5. Fueling Equipment | 5.1 Chemical Exposure, Spills & Unidentified Ignition Source |  | 5.1.1 Review SDS (Coffman's SDSs can be found on the QR code) and understand hazards of the chemicals being used. | [10 empty] | 1 x 2 = 2
|  |  | 5.1.2 Use proper gloves for fueling. | [10 empty] | 1 x 2 = 2
|  |  | 5.1.3 Keep potential ignition source a minimum of 25' from fueling area. | [10 empty] | 1 x 2 = 2
|  |  | 5.1.4 Fire extinguisher readily available in fueling area. | [10 empty] | 1 x 2 = 2
|  |  | 5.1.5 Spill kit on site and/or on fuel truck. | [10 empty] | 1 x 2 = 2
| 5.2 Struck-By/Caught Between Equipment |  | 5.2.1 Only authorized operators to operate equipment. | [10 empty] | 1 x 2 = 2
|  |  | 5.2.2 Use spotters when needed. | [10 empty] | 1 x 2 = 2
| 5.3 Slippery Equipment/Ground Conditions Due To Wet/Freezing Weather, Mud, Lose Rock. |  | 5.3.1 Utilize 3 points of contact when climbing on and off equipment. | [10 empty] | 1 x 2 = 2
|  |  | 5.3.2 Evaluate work area prior to starting work. | [10 empty] | 1 x 2 = 2
Verification of Review
Name (Print) |  | Signature | [5 empty] | Date
Superintendent:
Project Manager:
EHS:
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member:

## Vac-Exing
Job Hazard Analysis (JHA)
Activity/Task: VAC-EXING |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  | Probability (Likelihood) | Overall Risk Rating | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  | 4-Very Likely |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  | 3-Likely |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  | 2-Possible |  | 4-6- Medium
EHS Manager: |  | Minor (1) |  | x |  | 1-Unlikely |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [6 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [6 empty] | Severity Probability Risk
1. Perform Equipment Inspections | 1.1 Awkward Posture/Positioning When Inspecting |  | 1.1.1 Stretch and Flex prior to starting work. | [6 empty] | 2 x 1 = 2
|  |  | 1.1.2 Perform inspections at surface level, when possible. | [6 empty] | 2 x 1 = 2
| 1.2 Pinch Points |  | 1.2.1 Proper positioning of equipment. | [6 empty] | 2 x 1 = 2
|  |  | 1.2.2 Beware of hand/body placement. | [6 empty] | 2 x 1 = 2
2. Equipment Set-up | 2.1 Moving/Rotating Equipment |  | 2.1.1 Equipment equipped with back-up alarms. | [6 empty] | 2 x 2 = 4
|  |  | 2.1.2 Only authorized persons to operator equipment. | [6 empty] | 2 x 2 = 4
| 2.2 Struck By/Caught By-hoses, equipment, structures |  | 2.2.1 Spotter when moving/working near buildings, structures or other personnel. | [6 empty] | 2 x 2 = 4
|  |  | 2.2.2 Maintain 10ft distance from overhead wires. | [6 empty] | 2 x 2 = 4
|  |  | 2.2.3 PPE- Class 2 High-viz clothing. | [6 empty] | 2 x 2 = 4
|  |  | 2.2.4 Spotter to maintain eye contact with operator/driver. | [6 empty] | 2 x 2 = 4
| 2.3 Tipping Of Equipment-Cave-Ins |  | 2.3.1 Equipment to say a safe distance away from the excavation (a minimum of 2 feet). | [6 empty] | 2 x 2 = 4
|  |  | 2.3.2 Use of engineered shoring, shielding, sloping or benching to help prevent cave-ins, when excavation/trench is over 5' deep, or if conditions demand. | [6 empty] | 2 x 2 = 4
3. Operating Vac-ex | 3.1 Struck-by Hose |  | 3.1.1 Keep all unnecessary personnel, bystanders, and pedestrians out of work area, by using red rope, spotter, or hard barricade. | [6 empty] | 2 x 2 = 4
|  |  | 3.1.2 Review controls and familiarize yourself with them before the start of work. | [6 empty] | 2 x 2 = 4
| 3.2 Excessive Suction and Water Pressure |  | 3.2.1 Keep suction hose away from face and other body parts. | [6 empty] | 2 x 4 = 8
|  |  | 3.2.2 Inspect and insure connections are tight prior to the start of high pressure suction. | [6 empty] | 2 x 4 = 8
|  |  | 3.2.3 Replace defective or warn parts. | [6 empty] | 2 x 2 = 4
|  |  | 3.2.4 Know where the kill switch is and let anyone you are working with know where the kill switch is. | [6 empty] | 2 x 2 = 4
|  |  | 3.2.5 Face shield and safety glass for excess Flying debris. | [6 empty] | 2 x 2 = 4
|  |  | 3.2.6 Maintain adequate distance form existing utility. | [6 empty] | 2 x 2 = 4
|  |  | 3.2.7 Keep water lance in motion when vac-exing. | [6 empty] | 2 x 2 = 4
4. Vax-exing Near, Around or For Existing Utilities | 4.1 Striking existing utility |  | 4.1.1 Call for locates private and or public prior to the start of work. | [6 empty] | 2 x 2 = 4
|  |  | 4.1.2 Refer to Plan-set/Asbuilts prior to the start of work. | [6 empty] | 2 x 2 = 4
|  |  | 4.1.3 Check with other trades on where their utilities may be located prior to start of work. | [6 empty] | 2 x 2 = 4
|  |  | 4.1.4 Check with GC about any changes to utilities that may have been made prior to plan-set/asbuilts being sent out. | [6 empty] | 2 x 2 = 4
|  |  | 4.1.5 Complete Coffman's Utility Awareness form and review with crew prior to the start of work. This will include above and below ground utilities. | [6 empty] | 2 x 2 = 4
| 4.2 Open hole fall >6' |  | 4.2.1 Install hard barricade as fall protection. | [6 empty] | 2 x 2 = 4
|  |  | 4.2.2 Tie off with rope/retractable and harness for fall restraint or arrest. | [6 empty] | 2 x 2 = 4
| 4.3 Excessive noise over 85db |  | 4.3.1 PPE hearing protection. | [6 empty] | 2 x 2 = 4
| 4.4 Sharp Edges |  | 4.4.1 PPE Level 3 Cutless gloves.
4.4.2 Tape or pad off sharp edges.
5. Fueling Equipment | 5.1 Chemical Exposure, Spills & Unidentified Ignition Source |  | 5.1.1 Review SDS (Coffman's SDSs can be found on the QR code) and understand hazards of the chemicals being used. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.2 Use proper gloves for fueling. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.3 Keep potential ignition source a minimum of 25' from fueling area. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.4 Fire extinguisher readily available in fueling area. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.5 Spill kit on site and/or on fuel truck. | [6 empty] | 2 x 1 = 2
| 5.2 Struck-By/Caught Between Equipment |  | 5.2.1 Only authorized operators to operate equipment. | [6 empty] | 2 x 1 = 2
|  |  | 5.2.2 Use spotters when needed. | [6 empty] | 2 x 1 = 2
| 5.3 Slippery Equipment/Ground Conditions Due To Wet/Freezing Weather, Mud, Lose Rock. |  | 5.3.1 Utilize 3 points of contact when climbing on and off equipment. | [6 empty] | 2 x 1 = 2
|  |  | 5.3.2 Evaluate work area prior to starting work. | [6 empty] | 2 x 1 = 2
Verification of Review
Name (Print) |  | Signature |  |  |  | Date
Superintendent:
Project Manager:
EHS:
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member:

## Grading
Job Hazard Analysis (JHA)
Activity/Task: GRADING |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC) |  |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  |  |  | Probability (Likelihood) | Overall Risk Rating |  | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  |  |  | 4-Very Likely |  |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  |  |  | 3-Likely |  |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  |  |  | 2-Possible |  |  | 4-6- Medium
EHS Manager: |  | Minor (1) |  | x |  |  |  | 1-Unlikely |  |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [8 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [10 empty] | Severity Probability Risk
1. Mobilize Equipment To & From Site | 1.1 Struck by Equipment |  | 1.1.1 Follow all posted speed limits and guidelines on and off campus | [10 empty] | 2 x 1 = 2
|  |  | 1.1.2 Use spotters when loading and unloading equipment, to ensure people are not in the loading and unloading zone. | [10 empty] | 2 x 1 = 2
|  |  | 1.1.3 All personnel to class 2 wear high visibility vest/shirt and safety toed work boots, minimum 6" tall. | [10 empty] | 2 x 1 = 2
|  |  | 1.1.4 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [10 empty] | 2 x 1 = 2
| 1.2 Fuel Spills |  | 1.2.1 Spill kit readily available on truck and onsite | [10 empty] | 2 x 1 = 2
| 1.3 Low Visibility |  | 1.3.1 Ensure headlights are in working order | [10 empty] | 2 x 1 = 2
|  |  | 1.3.2 All personnel to class 2 wear high visibility vest/shirt. | [10 empty] | 2 x 1 = 2
|  |  | 1.3.3 Ensure windshield/mirrors along with wipers are in proper working order and clean | [10 empty] | 2 x 1 = 2
| 1.4 Loading & Unloading Machinery |  | 1.4.1 Ensure load is secured to vehicle | [10 empty] | 2 x 1 = 2
|  |  | 1.4.2 Vehicle to be parked on flat and level ground prior to loading and unloading | [10 empty] | 2 x 1 = 2
|  |  | 1.4.3 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [10 empty] | 2 x 1 = 2
2. Perform Equipment Inspections | 2.1 Awkward Posture/Positioning When Inspecting |  | 2.1.1 Stretch and Flex prior to starting work. | [10 empty] | 2 x 1 = 2
|  |  | 2.1.2 Perform inspections at surface level, when possible. | [10 empty] | 2 x 1 = 2
| 2.2 Pinch Points |  | 2.2.2 Proper positioning of equipment. | [10 empty] | 2 x 1 = 2
|  |  | 2.2.3 Beware of hand/body placement. | [10 empty] | 2 x 1 = 2
| 2.3 Unauthorized Starting of Equipment |  | 2.3.1 Verify keys are not in the ignition. | [10 empty] | 2 x 1 = 2
3. Excavating For Grading | 3.1 Moving Rotating Equipment |  | 3.1.1 Equipment equipped with warning devices such as back-up alarms or ATB devices. | [10 empty] | 4 x 1 = 4
| 3.2 Struck By/Caught Between Equipment |  | 3.2.1 Only authorized operators to use equipment. | [10 empty] | 4 x 1 = 4
|  |  | 3.2.2 Spotter | [10 empty] | 4 x 1 = 4
| 3.3 Damage to Equipment/Existing Structures |  | 3.3.1 Spotter | [10 empty] | 4 x 1 = 4
|  |  | 3.3.2 Maintain clearance from overhead wires/obstructions. | [10 empty] | 4 x 1 = 4
| 3.4 Tipping of Equipment |  | 3.4.1 Equipment will be matched to the intended loads for weight, size and activity. | [10 empty] | 4 x 1 = 4
|  |  | 3.4.2 Employees, other trades and pedestrians will keep clear of loading/hoisting operations. | [10 empty] | 4 x 1 = 4
|  |  | 3.4.3 PPE- Class 2 High-viz clothing. | [10 empty] | 4 x 1 = 4
|  |  | 3.4.4 Spotter to keep either verbal, visual (eye contact) or hand signal contact with operator. | [10 empty] | 4 x 1 = 4
|  |  | 3.4.5 Equipment to maintain safe distance from edge of trench/excavation. | [10 empty] | 4 x 1 = 4
| 3.5 Cave-ins |  | 3.5.1 Competent person to inspect excavation/trench daily or when site conditions or weather changes throughout the day. | [10 empty] | 4 x 1 = 4
|  |  | 3.5.2 Used engineered shoring, shielding system, sloping or benching when excavation/trench is over 5' or as needed at lesser depth. | [10 empty] | 4 x 1 = 4
3.5.3 Keep Spoils 2 feet back from edge of trench.
| 3.6 Ground Erosion |  | 3.6.1 Cover dirt slopes and install erosion control measures as needed. | [10 empty] | 4 x 1 = 4
| 3.7 Fall hazards >6' |  | 3.7.1 Secure area with red rope/hard barricade. | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 4 x 1 = 4
3.7.2 Utilize fall protection equipment when required/
| 3.8 Striking Existing Utilities |  | 3.8.1 Call for locates private/public prior to the start of work. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.2 Refer to plan set/asbuilts prior to start of work. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.3 Check with other trades about where their utilities are located prior to starting work. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.4 Check with GC about changes that may have been made to plans/asbulits prior to starting work. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.5 Pothole prior to the start of work when able. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.6 Do not mechanically dig when within 3 feet of known utilities. Hand dig with shovel or use vac-ex. | [10 empty] | 4 x 1 = 4
|  |  | 3.8.7 Complete Coffman's Utility Awareness form and review with crew prior to the start of work. This will include above and below ground utilities. | [10 empty] | 4 x 1 = 4
4. Fueling Equipment | 4.1 Chemical Exposure, Spills & Unidentified Ignition Source |  | 4.1.1 Review SDS (Coffman's SDSs can be found on the QR code) and understand hazards of the chemicals being used. | [10 empty] | 2 x 1 = 2
|  |  | 4.1.2 Use proper gloves for fueling. | [10 empty] | 2 x 1 = 2
|  |  | 4.1.3 Keep potential ignition source a minimum of 25' from fueling area. | [10 empty] | 2 x 1 = 2
|  |  | 4.1.4 Fire extinguisher readily available in fueling area. | [10 empty] | 2 x 1 = 2
|  |  | 4.1.5 Spill kit on site and/or on fuel truck. | [10 empty] | 2 x 1 = 2
| 4.2 Struck-By/Caught Between Equipment |  | 4.2.1 Only authorized operators to operate equipment. | [10 empty] | 2 x 1 = 2
|  |  | 4.2.2 Use spotters when needed. | [10 empty] | 2 x 1 = 2
| 4.3 Slippery Equipment/Ground Conditions Due To Wet/Freezing Weather, Mud, Lose Rock. |  | 4.3.1 Utilize 3 points of contact when climbing on and off equipment. | [10 empty] | 2 x 1 = 2
|  |  | 4.3.2 Evaluate work area prior to starting work. | [10 empty] | 2 x 1 = 2
Verification of Review
Name (Print) |  | Signature | [5 empty] | Date
Superintendent:
Project Manager:
EHS:
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member:

## Tree Removal
Job Hazard Analysis (JHA)
Activity/Task: TREE REMOVAL |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  | Probability (Likelihood) | Overall Risk Rating | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  | 4-Very Likely |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  | 3-Likely |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  | 2-Possible |  | 4-6- Medium
EHS Manager: |  | Minor (1) |  | x |  | 1-Unlikely |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [6 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [6 empty] | Severity Probability Risk
1. Mobilize Equipment To & From Site | 1.1 Struck by Equipment |  | 1.1.1 Follow all posted speed limits and guidelines on and off campus | [6 empty] | 2 x 1 = 2
|  |  | 1.1.2 Use spotters when loading and unloading equipment, to ensure people are not in the loading and unloading zone. | [6 empty] | 2 x 1 = 2
|  |  | 1.1.3 All personnel to class 2 wear high visibility vest/shirt and safety toed work boots, minimum 6" tall. | [6 empty] | 2 x 1 = 2
|  |  | 1.1.4 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [6 empty] | 2 x 1 = 2
| 1.2 Fuel Spills |  | 1.2.1 Spill kit readily available on truck and onsite | [6 empty] | 2 x 1 = 2
| 1.3 Low Visibility |  | 1.3.1 Ensure headlights are in working order | [6 empty] | 2 x 1 = 2
|  |  | 1.3.2 All personnel to class 2 wear high visibility vest/shirt. | [6 empty] | 2 x 1 = 2
|  |  | 1.3.3 Ensure windshield/mirrors along with wipers are in proper working order and clean | [6 empty] | 2 x 1 = 2
| 1.4 Loading & Unloading Machinery |  | 1.4.1 Ensure load is secured to vehicle | [6 empty] | 2 x 1 = 2
|  |  | 1.4.2 Vehicle to be parked on flat and level ground prior to loading and unloading | [6 empty] | 2 x 1 = 2
|  |  | 1.4.3 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [6 empty] | 2 x 1 = 2
2. Perform Equipment Inspections | 2.1 Awkward Posture/Positioning When Inspecting |  | 2.1.1 Stretch and Flex prior to starting work. | [6 empty] | 2 x 1 = 2
|  |  | 2.1.2 Perform inspections at surface level, when possible. | [6 empty] | 2 x 1 = 2
| 2.2 Pinch Points |  | 2.2.2 Proper positioning of equipment. | [6 empty] | 2 x 1 = 2
|  |  | 2.2.3 Beware of hand/body placement. | [6 empty] | 2 x 1 = 2
| 2.3 Unauthorized Starting of Equipment |  | 2.3.1 Verify keys are not in the ignition. | [6 empty] | 2 x 1 = 2
3. Prepare Work Area For Tree Removal | 3.1 Falling trees, limbs, debris |  | 3.1.1 Secure area with red rope/hard barricade. | [6 empty] | 4 x 2 = 8
|  |  | 3.1.2 Only authorized operators to use equipment. | [6 empty] | 4 x 2 = 8
|  |  | 3.1.3 Use spotter to stop people from entering area. | [6 empty] | 4 x 2 = 8
| 3.2 Ground obstructions that could lead to slips, trips or falls |  | 3.2.1 Evaluate area and clear working area of as much debris as possible. | [6 empty] | 4 x 2 = 8
4. Climbing | 4.1 Falling or Slipping From Tree |  | 4.1.1 Inspect all climbing equipment prior to use. | [6 empty] | 4 x 2 = 8
|  |  | 4.1.2 Always tie in with an approved climbing line and tree climber’s saddle when working above ground; work may be performed while standing on a ladder, including top rung, but only when worker is tied in. | [6 empty] | 4 x 2 = 8
|  |  | 4.1.3 Place hands and feet on separate limbs whenever possible. | [6 empty] | 4 x 2 = 8
|  |  | 4.1.4 Maintain three points of contact while climbing. | [6 empty] | 4 x 2 = 8
|  |  | 4.1.5 Have at least two means of attachment | [6 empty] | 4 x 2 = 8
|  |  | 4.1.6 The climbing line should be passed around the trunk of the tree as high above the ground as possible using branches with a wide crotch to prevent binding of the climbing line. | [6 empty] | 4 x 2 = 8
|  |  | 4.1.7 Select a crotch for tying in that is as close to being directly above the work area as possible, in a position such that a slip or fall would swing the worker away from any electrical conductor. | [6 empty] | 4 x 2 = 8
|  |  | 4.1.8 Keep feet, hands, and rope out of tight V-shaped crotches when possible install friction device lie a friction saver. | [6 empty] | 4 x 2 = 8
|  |  | 4.1.9 A false crotch can be used in place of a natural crotch at the discretion of the climber. | [6 empty] | 4 x 2 = 8
| 4.2 Debris In Eyes |  | 4.2.1 PPE-Safety glasses. | [6 empty] | 4 x 2 = 8
| 4.3 Struck-by |  | 4.3.1 PPE Type 2 hard hat | [6 empty] | 4 x 2 = 8
|  |  | 4.3.2 Body position, so falling objects fall away from self. | [6 empty] | 4 x 2 = 8
5. Trimming and Pruning | 5.1 Falling Limbs and Debris |  | 5.1.1 Attach a separate line to limbs that cannot be safely dropped to the ground or are too heavy to be controlled by hand. Workers on the ground should hold the ground end of this line. | [6 empty] | 4 x 2 = 8
|  |  | 5.1.2 Never use the same crotch for both the climbing line and the lowering line. | [6 empty] | 4 x 2 = 8
|  |  | 5.1.3 Never leave cut branches in trees overnight. | [6 empty] | 4 x 2 = 8
| 5.2 Electrical Hazards |  | 5.2.1 Always hang pole pruners and pole saws in vertical position to prevent dislodging | [6 empty] | 4 x 2 = 8
|  |  | 5.2.2 Position body and tools away from electrical hazard. | [6 empty] | 4 x 2 = 8
|  |  | 5.2.3 Trim, prune in a manner that allows falling abject to fall away from electrical hazard. | [6 empty] | 4 x 2 = 8
4 x 2 = 8
4 x 2 = 8
4 x 2 = 8
Verification of Review
Name (Print) |  | Signature |  |  |  | Date
Superintendent:
Project Manager:
EHS:
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member:

## Hot Tap
Job Hazard Analysis (JHA)
Activity/Task: HOT TAP |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  | Probability (Likelihood) | Overall Risk Rating | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  | 4-Very Likely |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  | 3-Likely |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  | 2-Possible |  | 4-6- Medium
EHS Manager: |  | Minor (1) |  | x |  | 1-Unlikely |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [6 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [6 empty] | Severity Probability Risk
1. Installation and Use of Hot Tapping and Line Stopping Equipment | 1.1 Impact To Utilities |  | 1.1.1 Evaluate work area and any obstructions prior to starting work. | [6 empty] | 1 x 2 = 2
|  |  | 1.1.2 Plan and utilize liquid management such as pipe leak diverters and or plastic tube sock. | [6 empty] | 1 x 2 = 2
|  |  | 1.1.3 Ensure proper notifications and permits have been submitted and are in place. | [6 empty] | 1 x 2 = 2
| 1.2 Exposure to Hazardous Energies |  | 1.2.1 Review Lockout/Tagout points with system owner and crew. Each effected employee to apply lock. | [6 empty] | 1 x 2 = 2
|  |  | 1.2.2 Red rope or hard barricade work area to help keep other personnel/pedestrians out of work area. | [6 empty] | 1 x 2 = 2
|  |  | 1.2.3 PPE-leather gloves or Ansell HyFlex gloves. Leather gloves to be worn except for when working in hot water. | [6 empty] | 1 x 2 = 2
| 1.3 Struck-by-Falling Tools/Equipment |  | 1.3.1 Use bucket or tote on a rope to lower/move equipment and tools into work area or use mechanical means when able to I.E Load tools into loader bucket and set into excavation. | [6 empty] | 1 x 2 = 2
|  |  | 1.3.2 PPE-Type 2 Hard Hat | [6 empty] | 1 x 2 = 2
|  |  | 1.3.3 Ensure no items are stored along edge of trench/excavation. | [6 empty] | 1 x 2 = 2
| 1.4 Strains/Sprains |  | 1.4.1 Stretch and Flex prior to the start of shift and as needed throughout the shift. | [6 empty] | 1 x 2 = 2
|  |  | 1.4.2 Use buddy system or mechanical means to lift items weighing more than 40 pounds. | [6 empty] | 1 x 2 = 2
| 1.5 Falls |  | 1.5.1 Fall protection to be used when falls are >6' | [6 empty] | 2 x 2 = 4
|  |  | 1.5.2 Red rope or hard barricade to keep others out of fall hazard area. | [6 empty] | 2 x 2 = 4
| 1.6 Atmospheric Hazards |  | 1.6.1 Use air monitor to monitor area prior to entering. If area is at risk of atmospheric hazards that may occur while testing, continuously wear air monitor while performing procedure. | [6 empty] | 2 x 2 = 4
|  |  | 1.6.2 If atmospheric hazards are present, use fan to help clear area of atmospheric hazards. | [6 empty] | 2 x 2 = 4
Superintendent:
Project Manager:
EHS:
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member:

## Loading-Unloading
Job Hazard Analysis (JHA)
Activity/Task: LOADING & UNLOADING |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  | Probability (Likelihood) | Overall Risk Rating | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  | 4-Very Likely |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  | 3-Likely |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  | 2-Possible |  | 4-6- Medium
EHS Manager: |  | Minor (1) |  | x |  | 1-Unlikely |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [6 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [6 empty] | Severity Probability Risk
1. Mobilize Equipment To & From Site | 1.1 Struck by Equipment |  | 1.1.1 Follow all posted speed limits and guidelines on and off campus | [6 empty] | 2 x 1 = 2
|  |  | 1.1.2 Use spotters when loading and unloading equipment, to ensure people are not in the loading and unloading zone. | [6 empty] | 2 x 1 = 2
|  |  | 1.1.3 All personnel to class 2 wear high visibility vest/shirt and safety toed work boots, minimum 6" tall. | [6 empty] | 2 x 1 = 2
|  |  | 1.1.4 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [6 empty] | 2 x 1 = 2
| 1.2 Fuel Spills |  | 1.2.1 Spill kit readily available on truck and onsite | [6 empty] | 2 x 1 = 2
| 1.3 Low Visibility |  | 1.3.1 Ensure headlights are in working order | [6 empty] | 2 x 1 = 2
|  |  | 1.3.2 All personnel to class 2 wear high visibility vest/shirt. | [6 empty] | 2 x 1 = 2
|  |  | 1.3.3 Ensure windshield/mirrors along with wipers are in proper working order and clean | [6 empty] | 2 x 1 = 2
| 1.4 Loading & Unloading Machinery |  | 1.4.1 Ensure load is secured to vehicle | [6 empty] | 2 x 1 = 2
|  |  | 1.4.2 Vehicle to be parked on flat and level ground prior to loading and unloading | [6 empty] | 2 x 1 = 2
|  |  | 1.4.3 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [6 empty] | 2 x 1 = 2
2. Perform Equipment Inspections | 2.1 Awkward Posture/Positioning When Inspecting |  | 2.1.1 Stretch and Flex prior to starting work. | [6 empty] | 2 x 1 = 2
|  |  | 2.12 Perform inspections at surface level, when possible. | [6 empty] | 2 x 1 = 2
| 2.2 Pinch Points |  | 2.2.1 Proper positioning of equipment. | [6 empty] | 2 x 1 = 2
|  |  | 2.2.2 Beware of hand/body placement. | [6 empty] | 2 x 1 = 2
| 2.3 Unauthorized Starting of Equipment |  | 2.3.1 Verify keys are not in the ignition. | [6 empty] | 2 x 1 = 2
3. Loading and Unloading Trucks With Loader | 3.1 Unstable Loads, Slippery Surfaces |  | 3.1.1 Utilize designated level, stable and secure loading/unloading areas (when available) Ensure loading and unloading is on level ground and truck/trailer is secured. (brakes set/chock wheels if necessary) | [6 empty] | 4 x 1 = 4
|  |  | 3.1.2 Three points of contact utilized when on and off of equipment and when climbing on and off loads, use step ladder when needed. | [6 empty] | 4 x 1 = 4
|  |  | 3.1.3 Ensure no personnel or by-standers are on back side of the load during loading and unloading. Use red rope to rope off the area if needed. | [6 empty] | 4 x 1 = 4
|  |  | 3.1.4 Use spotter to direct personnel/bystanders out of loading area. | [6 empty] | 4 x 1 = 4
| 3.2 Unidentified Stored Energy-Struck-by/Caught Between |  | 3.2.1 Evaluate loads prior to removing securement. | [6 empty] | 4 x 1 = 4
|  |  | 3.2.2 Keep hands, feet and body out of line of fire when off-loading. | [6 empty] | 4 x 1 = 4
|  |  | 3.2.3 PPE- Type 2 hard hats, class 2 high-viz clothing. | [6 empty] | 4 x 1 = 4
4. Moving Materials With The Excavator Using Rigging | 4.1 Slippery Surfaces, Uneven Ground |  | 4.1.2 Use spotter to direct personnel/bystanders out of loading area and landing zone. | [6 empty] | 4 x 1 = 4
|  |  | 4.1.3 Evaluate pathway prior to the start of work, to ensure no obstructions are present. | [6 empty] | 4 x 1 = 4
| 4.2 Rigging Failure |  | 4.2.1 Inspect rigging prior to use. | [6 empty] | 4 x 1 = 4
|  |  | 4.2.2 Ensure the excavator is rated for the weight of the load and that proper rigging is being used. | [6 empty] | 4 x 1 = 4
| 4.3 Struck By Load/Equipment and Pinched Fingers |  | 4.3.1 PPE- Type 2 hard hats, class 2 high-viz clothing. | [6 empty] | 4 x 1 = 4
|  |  | 4.3.2 Use spotter to direct personnel/bystanders out of loading area. | [6 empty] | 4 x 1 = 4
|  |  | 4.3.3 Use tag lines to control loads when able to. | [6 empty] | 4 x 1 = 4
5. Fueling Equipment | 5.1 Chemical Exposure, Spills & Unidentified Ignition Source |  | 5.1.1 Review SDS (Coffman's SDSs can be found on the QR code) and understand hazards of the chemicals being used. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.2 Use proper gloves for fueling. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.3 Keep potential ignition source a minimum of 25' from fueling area. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.4 Fire extinguisher readily available in fueling area. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.5 Spill kit on site and/or on fuel truck. | [6 empty] | 2 x 1 = 2
| 5.2 Struck-By/Caught Between Equipment |  | 5.2.1 Only authorized operators to operate equipment. | [6 empty] | 2 x 1 = 2
|  |  | 5.2.2 Use spotters when needed. | [6 empty] | 2 x 1 = 2
| 5.3 Slippery Equipment/Ground Conditions Due To Wet/Freezing Weather, Mud, Lose Rock. |  | 5.3.1 Utilize 3 points of contact when climbing on and off equipment. | [6 empty] | 2 x 1 = 2
|  |  | 5.3.2 Evaluate work area prior to starting work. | [6 empty] | 2 x 1 = 2
Verification of Review
Name (Print) |  | Signature |  |  |  | Date
Superintendent:
Project Manager:
EHS: Amy McClean
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member:

## Demo
Job Hazard Analysis (JHA)
Activity/Task: DEMO |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  | Probability (Likelihood) | Overall Risk Rating | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  | 4-Very Likely |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  | 3-Likely |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  | 2-Possible |  | 4-6- Medium
EHS Manager: |  | Minor (1) |  | x |  | 1-Unlikely |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [6 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [6 empty] | Severity Probability Risk
1. Mobilize Equipment To & From Site | 1.1 Struck by Equipment |  | 1.1.1 Follow all posted speed limits and guidelines on and off campus | [6 empty] | 2 x 1 = 2
|  |  | 1.1.2 Use spotters when loading and unloading equipment, to ensure people are not in the loading and unloading zone. | [6 empty] | 2 x 1 = 2
|  |  | 1.1.3 All personnel to class 2 wear high visibility vest/shirt and safety toed work boots, minimum 6" tall. | [6 empty] | 2 x 1 = 2
|  |  | 1.1.4 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [6 empty] | 2 x 1 = 2
| 1.2 Fuel Spills |  | 1.2.1 Spill kit readily available on truck and onsite | [6 empty] | 2 x 1 = 2
| 1.3 Low Visibility |  | 1.3.1 Ensure headlights are in working order | [6 empty] | 2 x 1 = 2
|  |  | 1.3.2 All personnel to class 2 wear high visibility vest/shirt. | [6 empty] | 2 x 1 = 2
|  |  | 1.3.3 Ensure windshield/mirrors along with wipers are in proper working order and clean | [6 empty] | 2 x 1 = 2
| 1.4 Loading & Unloading Machinery |  | 1.4.1 Ensure load is secured to vehicle | [6 empty] | 2 x 1 = 2
|  |  | 1.4.2 Vehicle to be parked on flat and level ground prior to loading and unloading | [6 empty] | 2 x 1 = 2
|  |  | 1.4.3 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [6 empty] | 2 x 1 = 2
2. Perform Equipment Inspections | 2.1 Awkward Posture/Positioning When Inspecting |  | 2.1.1 Stretch and Flex prior to starting work. | [6 empty] | 2 x 1 = 2
|  |  | 2.12 Perform inspections at surface level, when possible. | [6 empty] | 2 x 1 = 2
| 2.2 Pinch Points |  | 2.2.1 Proper positioning of equipment. | [6 empty] | 2 x 1 = 2
|  |  | 2.2.2 Beware of hand/body placement. | [6 empty] | 2 x 1 = 2
| 2.3 Unauthorized Starting of Equipment |  | 2.3.1 Verify keys are not in the ignition. | [6 empty] | 2 x 1 = 2
3. Demo of Structure, Concrete or Asphalt | 3.1 Slippery Surfaces, Uneven Ground |  | 3.1.2 Use spotter to direct personnel/bystanders out of loading area and landing zone. | [6 empty] | 4 x 1 = 4
|  |  | 3.1.3 Evaluate pathway prior to the start of work, to ensure no obstructions are present. | [6 empty] | 4 x 1 = 4
| 3.2 Rigging Failure |  | 3.2.1 Inspect rigging prior to use. | [6 empty] | 4 x 1 = 4
|  |  | 3.2.2 Ensure the excavator is rated for the weight of the load and that proper rigging is being used. | [6 empty] | 4 x 1 = 4
| 3.3 Struck By Load/Equipment and Pinched Fingers |  | 3.3.1 PPE- Type 2 hard hats, class 2 high-viz clothing. | [6 empty] | 4 x 1 = 4
|  |  | 3.3.2 Use spotter to direct personnel/bystanders out of loading area. | [6 empty] | 4 x 1 = 4
|  |  | 3.3.3 Use tag lines to control loads when able to. | [6 empty] | 4 x 1 = 4
3.3.4 Red rope/hard barricade area to keep other personnel and pedestrians away from flying debris.
| 3.4 Striking Existing Utilities |  | 3.4.1 Call for locates private/public prior to the start of work.
3.4.2 Refer to plan set/asbuilts prior to start of work.
3.4.3 Check with other trades about where their utilities are located prior to starting work.
3.4.4 Check with GC about changes that may have been made to plans/asbulits prior to starting work.
3.4.5 Pothole prior to the start of work when able.
3.4.6 Do not mechanically dig when within 3 feet of known utilities. Hand dig with shovel or use vac-ex.
3.4.7 Complete Coffman's Utility Awareness form and review with crew prior to the start of work. This will include above and below ground utilities.
| 3.5 Flying Debris and Dust |  | 3.5.1 Excavator to have demo-guard installed and windshield will be closed while demoing
3.5.2 Ground personnel to wear proper PPE including but not limited to safety glass/goggles, hearing protection, hard hat and class 2 high-viz clothing.
3.5.3 Water to be used to control dust.
5. Fueling Equipment | 5.1 Chemical Exposure, Spills & Unidentified Ignition Source |  | 5.1.1 Review SDS (Coffman's SDSs can be found on the QR code) and understand hazards of the chemicals being used. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.2 Use proper gloves for fueling. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.3 Keep potential ignition source a minimum of 25' from fueling area. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.4 Fire extinguisher readily available in fueling area. | [6 empty] | 2 x 1 = 2
|  |  | 5.1.5 Spill kit on site and/or on fuel truck. | [6 empty] | 2 x 1 = 2
| 5.2 Struck-By/Caught Between Equipment |  | 5.2.1 Only authorized operators to operate equipment. | [6 empty] | 2 x 1 = 2
|  |  | 5.2.2 Use spotters when needed. | [6 empty] | 2 x 1 = 2
| 5.3 Slippery Equipment/Ground Conditions Due To Wet/Freezing Weather, Mud, Lose Rock. |  | 5.3.1 Utilize 3 points of contact when climbing on and off equipment. | [6 empty] | 2 x 1 = 2
|  |  | 5.3.2 Evaluate work area prior to starting work. | [6 empty] | 2 x 1 = 2
Verification of Review
Name (Print) |  | Signature |  |  |  | Date
Superintendent:
Project Manager:
EHS: Amy McClean
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member:

## Saw Cutting
Job Hazard Analysis (JHA)
Activity/Task: SAW CUTTING |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  | Probability (Likelihood) | Overall Risk Rating | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  | 4-Very Likely |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  | 3-Likely |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  | 2-Possible |  | 4-6- Medium
EHS Manager: |  | Minor (1) |  | x |  | 1-Unlikely |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [6 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [6 empty] | Severity Probability Risk
1. Perform Tool/Saw Inspections | 1.1 Awkward Posture/Positioning When Inspecting |  | 1.1.1 Stretch and Flex prior to starting work. | [6 empty] | 2 x 1 = 2
|  |  | 1.12 Perform inspections at surface level, when possible. | [6 empty] | 2 x 1 = 2
| 1.2 Pinch Points |  | 1.2.1 Proper positioning of equipment. | [6 empty] | 2 x 1 = 2
|  |  | 1.2.2 Beware of hand/body placement. | [6 empty] | 2 x 1 = 2
2. Cutting Concrete/Asphalt With Cut-Off Saw | 2.1 Noise >85 Decibels |  | 2.1.1 Use hearing protection while saw cutting. | [6 empty] | 2 x 1 = 2
| 2.2 Flying Debris |  | 2.2.2 PPE- Including but not limited to face shield, hard hat, hearing protection, chaps, safety glasses and face shield. | [6 empty] | 2 x 1 = 2
|  |  | 2.2.3 Hard barricade work area to keep debris out of pedestrian areas and areas where other personnel may be working, | [6 empty] | 2 x 1 = 2
| 2.3 Cuts and Impalements form Sharp and or Spinning Blades |  | 2.3.1 Cutless gloves worn at all times. | [6 empty] | 2 x 1 = 2
|  |  | 2.3.2 Inspect and keep guards in place when saw is in use. | [6 empty] | 2 x 1 = 2
| 2.4 Silica Exposure |  | 2.4.1 Use water to keep silica dust down. | [6 empty] | 2 x 1 = 2
|  |  | 2.4.2 If water isn't able to be used, use a vacuum to keep silica out to the atmosphere. | [6 empty] | 2 x 1 = 2
3. Fueling Equipment | 3.1 Chemical Exposure, Spills & Unidentified Ignition Source |  | 3.1.1 Review SDS (Coffman's SDSs can be found on the QR code) and understand hazards of the chemicals being used. | [6 empty] | 2 x 1 = 2
|  |  | 3.1.2 Use proper gloves for fueling. | [6 empty] | 2 x 1 = 2
|  |  | 3.1.3 Keep potential ignition source a minimum of 25' from fueling area. | [6 empty] | 2 x 1 = 2
|  |  | 3.1.4 Fire extinguisher readily available in fueling area. | [6 empty] | 2 x 1 = 2
|  |  | 3.1.5 Spill kit on site and/or on fuel truck. | [6 empty] | 2 x 1 = 2
Verification of Review
Name (Print) |  | Signature |  |  |  | Date
Superintendent:
Project Manager:
EHS:
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member: