## Utility Install
Job Hazard Analysis (JHA)
Activity/Task: UTILITY INSTALLATION |  | Overall Risk Assessment Code (RAC) | Overall Risk Assessment Code (RAC) |  |  |  | Overall Risk Assessment Code (RAC) |  |  |  |  | Overall Risk Assessment Code (RAC)
Project & Location: |  | Risk Assessment Code (RAC) Matrix -Severity x Probability = Overall Risk
General Contractor: |  | Severity (Outcome) |  | x |  |  |  | Probability (Likelihood) | Overall Risk Rating |  | Overall Risk
Coffman Job #:
Date: |  | Critical (6) |  | x |  |  |  | 4-Very Likely |  |  | 24-Very High
Project Manager: |  | Major (4) |  | x |  |  |  | 3-Likely |  |  | 8-18-High
Superintendent: |  | Moderate (2) |  | x |  |  |  | 2-Possible |  |  | 4-6- Medium
EHS Manager: |  | Minor (1) |  | x |  |  |  | 1-Unlikely |  |  | 1-3 Low
Review each “Hazard” with identified safety “Controls” and determine RAC (See above)
Never Authorized | [8 empty] | WHO CAN AUTHROIZE HAZARDOUS ACTIVITIES
Operations Manager (General Supt/Project Executive/EHS Program Mgr)
SR.PM/Lead Supt/Site EHS Manager
Supt/EHS Manager/PM
Job Steps | Hazards |  | Controls | [10 empty] | Severity Probability Risk
1. Mobilize Equipment To & From Site | 1.1 Struck by Equipment |  | 1.1.1 Follow all posted speed limits and guidelines on and off campus | [10 empty] | 1 x 2 = 2
|  |  | 1.1.2 Use spotters when loading and unloading equipment, to ensure people are not in the loading and unloading zone. | [10 empty] | 1 x 2 = 2
|  |  | 1.1.3 All personnel to class 2 wear high visibility vest/shirt and safety toed work boots, minimum 6" tall. | [10 empty] | 1 x 2 = 2
|  |  | 1.1.4 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [10 empty] | 1 x 2 = 2
| 1.2 Fuel Spills |  | 1.2.1 Spill kit readily available on truck and onsite | [10 empty] | 1 x 2 = 2
| 1.3 Low Visibility |  | 1.3.1 Ensure headlights are in working order | [10 empty] | 1 x 2 = 2
|  |  | 1.3.2 All personnel to class 2 wear high visibility vest/shirt. | [10 empty] | 1 x 2 = 2
|  |  | 1.3.3 Ensure windshield/mirrors along with wipers are in proper working order and clean | [10 empty] | 1 x 2 = 2
| 1.4 Loading & Unloading Machinery |  | 1.4.1 Ensure load is secured to vehicle | [10 empty] | 1 x 2 = 2
|  |  | 1.4.2 Vehicle to be parked on flat and level ground prior to loading and unloading | [10 empty] | 1 x 2 = 2
|  |  | 1.4.3 Use spotter to help ensure equipment has a clear path on and off of truck watching for other trades and pedestrians. | [10 empty] | 1 x 2 = 2
2. Perform Equipment Inspections | 2.1 Awkward Posture/Positioning When Inspecting |  | 2.1.1 Stretch and Flex prior to starting work. | [10 empty] | 1 x 2 = 2
|  |  | 2.1.2 Perform inspections at surface level, when possible. | [10 empty] | 1 x 2 = 2
| 2.2 Pinch Points |  | 2.2.1 Proper positioning of equipment. | [10 empty] | 1 x 2 = 2
|  |  | 2.2.2 Beware of hand/body placement. | [10 empty] | 1 x 2 = 2
| 2.3 Unauthorized Starting of Equipment |  | 2.3.1 Verify keys are not in the ignition. | [10 empty] | 1 x 2 = 2
3. Install and Backfill Utilities | 3.1 Pedestrians/Other Trades in area |  | 3.1.1 Danger tape/hard barricade work area. Only authorized personnel in area. | [10 empty] | 2 x 2 = 4
|  |  | 3.1.2 Use spotters when needed to direct pedestrians and other trades away from work area. | [10 empty] | 2 x 2 = 4
| 3.2 Struck By/Caught Between Equipment |  | 3.2.1 Only authorized operators to operate equipment. | [10 empty] | 2 x 2 = 4
|  |  | 3.2.2 Use Spotter to help operator know his whereabouts | [10 empty] | 2 x 2 = 4
| 3.3 Damage to Equipment/Existing Structures |  | 3.3.1 Use Spotter to help operator know his whereabouts | [10 empty] | 2 x 2 = 4
|  |  | 3.3.2 Maintain clearance from overhead wires/obstructions. | [10 empty] | 2 x 2 = 4
|  |  | 3.3.3 Maintain distance from existing structures and equipment. | [10 empty] | 2 x 2 = 4
| 3.4 Tipping of Equipment |  | 3.4.1 Equipment will be matched to the intended loads for weight, size and activity. | [10 empty] | 2 x 2 = 4
|  |  | 3.4.2 Employees, other trades and pedestrians will keep clear of loading/hoisting operations. | [10 empty] | 2 x 2 = 4
|  |  | 3.4.3 PPE- Class 2 High-viz clothing. | [10 empty] | 2 x 2 = 4
|  |  | 3.4.4 Spotter to keep either verbal, visual (eye contact) or hand signal contact with operator. | [10 empty] | 2 x 2 = 4
|  |  | 3.4.5 Equipment to maintain safe distance from edge of trench/excavation. | [10 empty] | 2 x 2 = 4
| 3.5 Cave-ins |  | 3.5.1 Competent person to inspect excavation/trench daily or when site conditions or weather changes throughout the day. | [10 empty] | 2 x 2 = 4
|  |  | 3.5.2 Used engineered shoring, shielding system, sloping or benching when excavation/trench is over 5' or as needed at lesser depth. | [10 empty] | 2 x 2 = 4
|  |  | 3.5.3 Keep Spoils 2 feet back from edge of trench. | [10 empty] | 2 x 2 = 4
| 3.6 Ground Erosion |  | 3.6.1 Cover dirt slopes and install erosion control measures as needed. | [10 empty] | 2 x 2 = 4
|  |  | 3.6.2 Dewater trench/excavation if needed. Never enter a trench or excavation full of water. | [10 empty] | 2 x 2 = 4
| 3.7 Fall hazards >6' |  | 3.7.1 Secure area with red rope/hard barricade. | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2.4.4 Keep work area clear and maintained | 2 x 2 = 4
|  |  | 3.7.2 Utilize fall protection equipment when required. | [10 empty] | 2 x 2 = 4
| 3.8 Rigging Failure |  | 3.8.1 Inspect rigging prior to use. | [10 empty] | 2 x 2 = 4
|  |  | 3.8.2 Use tag-lines when able to. | [10 empty] | 2 x 2 = 4
|  |  | 3.8.3 No personnel under suspended loads. | [10 empty] | 2 x 2 = 4
| 3.9 Fingers Pinched While Installing Pipe |  | 3.9.1 Use a pipe/tool to chink pipe in. | [10 empty] | 1 x 2 = 2
|  |  | 3.9.2 Use a board to keep pipe from moving while chinking. | [10 empty] | 1 x 2 = 2
| 3.10 Working in trench |  | 3.10.1 Always work in pairs, never enter trench without a top hand present. | [10 empty] | 1 x 2 = 2
| 3.11 Atmospheric Hazards |  | 3.11.1 Evaluate trench/excavation for atmospheric hazards. | [10 empty] | 1 x 2 = 2
|  |  | 3.11.2 Test with sniffer before entering and if you still are not sure where sniffer while in trench/excavation. | [10 empty] | 1 x 2 = 2
3.12.3 Put emergency retrieval procedures in place if needed.
4. Haul off debris/soil dump truck | 4.1 Struck By/Caught Between Equipment & Truck |  | 4.1.1 PPE- Class 2 High-viz clothing. | [10 empty] | 2 x 2 = 4
|  |  | 4.1.2 Spotter to stay our of swing radius of excavator. | [10 empty] | 2 x 2 = 4
|  |  | 4.1.3 Spotter to keep either verbal, visual (eye contact) or hand signal contact with operator. | [10 empty] | 2 x 2 = 4
| 4.2 Equipment/Truck Collision |  | 4.2.1 Equipment/Trucks to be directed by spotters when needed for trucks to enter/exit safely. | [10 empty] | 2 x 2 = 4
|  |  | 4.2.2 Seat belts to be worn in equipment/trucks when equipment/trucks is equipped with such. | [10 empty] | 2 x 2 = 4
| 4.3 Falling Material |  | 4.3.1 Trucks will be loaded below top of side rails with no material on side rails. | [10 empty] | 2 x 2 = 4
|  |  | 4.3.2 Spotter to remove debris from side rails, prior to truck leaving site. | [10 empty] | 2 x 2 = 4
|  |  | 4.3.3 Spotter to check duals of trucks for rocks. | [10 empty] | 2 x 2 = 4
| 4.4 Equipment/Property Damage |  | 4.4.1 Only authorized operators to use equipment. | [10 empty] | 2 x 2 = 4
|  |  | 4.4.2 Spotters to be used in areas where equipment may be a danger to others/property. | [10 empty] | 2 x 2 = 4
| 4.5 Dust |  | 4.5.1 Maintain dust utilizing water truck or other on-site water source. | [10 empty] | 2 x 2 = 4
5. Fueling Equipment | 5.1 Chemical Exposure, Spills & Unidentified Ignition Source |  | 5.1.1 Review SDS (Coffman's SDSs can be found on the QR code) and understand hazards of the chemicals being used. | [10 empty] | 1 x 2 = 2
|  |  | 5.1.2 Use proper gloves for fueling. | [10 empty] | 1 x 2 = 2
|  |  | 5.1.3 Keep potential ignition source a minimum of 25' from fueling area. | [10 empty] | 1 x 2 = 2
|  |  | 5.1.4 Fire extinguisher readily available in fueling area. | [10 empty] | 1 x 2 = 2
|  |  | 5.1.5 Spill kit on site and/or on fuel truck. | [10 empty] | 1 x 2 = 2
| 5.2 Struck-By/Caught Between Equipment |  | 5.2.1 Only authorized operators to operate equipment. | [10 empty] | 1 x 2 = 2
|  |  | 5.2.2 Use spotters when needed. | [10 empty] | 1 x 2 = 2
| 5.3 Slippery Equipment/Ground Conditions Due To Wet/Freezing Weather, Mud, Lose Rock. |  | 5.3.1 Utilize 3 points of contact when climbing on and off equipment. | [10 empty] | 1 x 2 = 2
|  |  | 5.3.2 Evaluate work area prior to starting work. | [10 empty] | 1 x 2 = 2
Verification of Review
Name (Print) |  | Signature | [5 empty] | Date
Superintendent:
Project Manager:
EHS:
Foreman:
Crew Member:
Crew Member:
Crew Member:
Crew Member:
Crew Member: